## G3 R Manhole Rehab Bid Sched
Group 3 Relay Rehab Project - Manhole Bid Schedule
MH ID | Diameter (in.) | Repair Method 1 | Repair Method 2 | Manhole Height (ft) | Height Above Grade (ft)
FS021567.01 | 40 | Structurally Repair MH | None | 8.4 | 0.5
FS022664.01 | 48 | Repair Bench/Channel | Cement Coating: Entire MH | 10.8 | 0
WS010292 | 48 | Cement Coating: Entire MH | None | 8.8 | 0
WS013771 | 48 | Cement Coating: Entire MH | None | 7.9 | 0
WS013934 | 48 | Cement Coating: Entire MH | None | 8.7 | 0
FS021444 | 48 | Install New Manhole | None | 9 | 0
FS022619.01 | 48 | Install New Manhole | None | 9 | 0
WS013048 | 48 | Install New Manhole | None | 10 | 0
WS010610 | 48 | Install New Manhole | None | 15 | 0
WS012850.01 | 48 | Install New Manhole | None | 12 | 0
WS013021 | 48 | Install New Manhole | None | 11 | 0
WS013035 | 48 | Install New Manhole | None | 10 | 0
WS013038 | 48 | Install New Manhole | None | 5 | 0
WS014005 | 48 | Install New Manhole | None | 12 | 0
WS013893 | 48 | Install New Manhole | None | 9 | 0

## G3 R Pipe Rehab Bid Sched
Group 3 Relay Rehab Project - Pipe Bid Schedule
Pipe ID | Sheet | US MH [Approx. Depth (ft)] | DS MH [Approx. Depth (ft)] | Diameter (in.) | Material | Approx. Repair Length (ft) | Approx. Repair Depth (ft) | Approx. # of Taps | Repair Method | Notes
FS020173.06S | A2 | FS020173.06 [3.4] | FS020173.05 [3.2] | 8 |  | 159.6 | 3.3 | 2 | Mainline Relay
FS022665S-2 | B3 | FS022665 [Not Inspected] | FS022664.01 [10.8] | 8 |  | 305.8 | 10.8 | 17 | Mainline Relay
FS022640S | B5 | FS022640 [7.9] | FS022639 [10.7] | 8 |  | 357.89 | 9.3 | 16 | Mainline Relay
WS010303S | B6 | WS010303 [4.4] | WS010302.01 [4.4] | 6 |  | 261.82 | 4.3 | 12 | Mainline Relay
WS010307S | B6 | WS010307 [Not Inspected] | WS010292 [8.8] | 8 |  | 359.03 | 8.8 | 1 | Mainline Relay
FS022653S | C4 | FS022653 [6.1] | FS022525 [4.5] | 8 |  | 397.6 | 5.55 | 20 | Mainline Relay
FS022595.01S | E5 | FS022595.01 [6.8] | FS022595 [7.2] | 6 |  | 285.7 | 7 | 9 | Mainline Relay
FS021443.01S | F3 | FS021443.01 [8.9] | FS021312.02 [Not Inspected] | 6 |  | 170.8 | 8.9 | 0 | Mainline Relay
FS021444S | F3 | FS021444 [Dead End] | FS021443.01 [8.9] | 6 |  | 431.41 | 8.9 | 4 | Mainline Relay
FS022619.01S | F4 | FS022619.01 [Not Inspected] | FS022619 [8.3] | 6 |  | 150.79 | 8.4 | 8 | Mainline Relay
FS022633S | G5 | FS022633 [4.6] | FS022593 [7.4] | 6 |  | 216.17 | 6 | 6 | Mainline Relay
FS021374S | H4 | FS021374 [4.9] | FS021354 [5.1] | 6 |  | 340.5 | 4.95 | 2 | Mainline Relay
FS022626.01S | H5 | FS022626.01 [Dead End] | FS022626 [6.4] | 6 |  | 187.39 | 6.5 | 4 | Mainline Relay
FS021278S | I1 | FS021278 [7] | FS021284.01 [7.5] | 6 |  | 105.47 | 7.25 | 10 | Mainline Relay
FS021279S | I1 | FS021279 [6.5] | FS021278 [7] | 6 |  | 259.55 | 6.75 | 24 | Mainline Relay
FS021655.01S | I5 | FS021655.01 [11.2] | FS021655 [14.3] | 6 |  | 320.2 | 12.9 | 13 | Mainline Relay
FS021653S | I6 | FS021653 [17.1] | FS021231 [Not Inspected] | 8 |  | 229.85 | 15.55 | 0 | Mainline Relay
FS021656.01S | I6 | FS021656.01 [Not Inspected] | FS021656 [9.3] | 6 |  | 540.43 | 6.75 | 1 | Mainline Relay
WS013047S | J10 | WS013047 [7] | WS012930 [8.8] | 6 |  | 539.3 | 7.8 | 13 | Mainline Relay
WS013048S | J10 | WS013048 [Dead End] | WS013047 [7] | 6 |  | 108.84 | 6.9 | 1 | Mainline Relay
WS012836S | J13 | WS012836 [12.9] | WS012835 [11.5] | 6 |  | 461.08 | 12.2 | 4 | Mainline Relay
WS010609S | J8 | WS010609 [6.6] | WS010605 [8.9] | 6 |  | 194.91 | 7.95 | 2 | Mainline Relay
WS010610S | J8 | WS010610 [Dead End] | WS010609 [6.6] | 6 |  | 450.6 | 6.9 | 3 | Mainline Relay
WS012850.01S | J9 | WS012850.01 [Dead End] | WS012850 [12.1] | 6 |  | 122.09 | 12.1 | 4 | Mainline Relay
WS012396S | K15 | WS012396 [15.4] | WS012395 [12.7] | 6 |  | 144.29 | 13.5 | 5 | Mainline Relay
WS013110.01S | L10 | WS013110.01 [8.5] | WS013110 [Not Inspected] | 6 |  | 373.37 | 7.65 | 13 | Mainline Relay
WS013057S | L11 | WS013057 [11.6] | WS012951.01 [8.8] | 8 |  | 599.69 | 10.3 | 20 | Mainline Relay
FS021567.01S | L2 | FS021567.01 [8.4] | FS021567 [7.8] | 6 |  | 207.46 | 8.25 | 17 | Mainline Relay
FS021574S | L3 | FS021574 [9.9] | FS021573 [9.3] | 8 |  | 185.13 | 9.75 | 0 | Mainline Relay
WS013021S | L9 | WS013021 [Dead End] | WS013020 [8.3] | 6 |  | 421.11 | 8.4 | 17 | Mainline Relay
FS021549.02S | M1 | FS021549.02 [Not Inspected] | FS021549.01 [Not Inspected] | 12 |  | 71.45 | 8 | 1 | Mainline Relay
WS013029S | M10 | WS013029 [4.8] | WS013028 [Not Inspected] | 6 |  | 322.5 | 6.15 | 8 | Mainline Relay
WS013030S | M11 | WS013030 [8.4] | WS013029 [4.8] | 6 |  | 481.52 | 6.6 | 19 | Mainline Relay
WS013035S | M12 | WS013035 [Dead End] | WS012952 [8.3] | 6 |  | 693.55 | 8.4 | 1 | Mainline Relay
WS013038S | M12 | WS013038 [Dead End] | WS012956 [7.3] | 6 |  | 213.46 | 7.4 | 2 | Mainline Relay
FS021921S | M4 | FS021921 [Not Inspected] | FS021716 [10.6] | 6 |  | 298.52 | 10.6 | 2 | Mainline Relay
WS010583S | M8 | WS010583 [9.5] | WS010582 [6.5] | 8 |  | 543.74 | 8 | 23 | Mainline Relay
WS013715S | M8 | WS013715 [6.1] | WS013714 [6.3] | 6 |  | 242.85 | 6.05 | 9 | Mainline Relay
WS013017S | M9 | WS013017 [3.9] | WS013016 [6.8] | 6 |  | 178.4 | 5.45 | 6 | Mainline Relay
WS013847S | M9 | WS013847 [2.2] | WS013846 [9.8] | 8 |  | 578.14 | 6.45 | 9 | Mainline Relay
WS013713S | N8 | WS013713 [6.4] | WS013712 [7.6] | 6 |  | 295 | 6.9 | 11 | Mainline Relay
WS013714S | N8 | WS013714 [6.3] | WS013713 [6.4] | 6 |  | 455 | 6.35 | 14 | Mainline Relay
WS013728S | N8 | WS013728 [4.7] | WS013725 [7] | 6 |  | 157.41 | 5.8 | 2 | Mainline Relay
WS013014.01S | N9 | WS013014.01 [8.9] | WS013014 [4] | 6 |  | 546.76 | 6.5 | 10 | Mainline Relay
WS012982S | O10 | WS012982 [4.4] | WS012981 [8.3] | 6 |  | 363 | 6.2 | 8 | Mainline Relay
WS013129S | O10 | WS013129 [4.4] | WS013128 [9.2] | 6 |  | 506.11 | 7 | 4 | Mainline Relay
WS013134S | O10 | WS013134 [3.9] | WS012999 [8.3] | 6 |  | 449.97 | 6.15 | 8 | Mainline Relay
WS013827S | O8 | WS013827 [5.2] | WS013610.02 [7.2] | 6 |  | 622.18 | 6.25 | 20 | Mainline Relay
WS013132S | O9 | WS013132 [7.6] | WS013131 [7.8] | 6 |  | 500.58 | 7.9 | 15 | Mainline Relay
WS013749S | O9 | WS013749 [5] | WS013748 [6.7] | 6 |  | 294.86 | 5.8 | 10 | Mainline Relay
WS013119.01S | P11 | WS013119.01 [2.7] | WS013119 [5.2] | 6 |  | 147.8 | 3.75 | 2 | Mainline Relay
WS012989S | Q10 | WS012989 [8.6] | WS012988 [9.2] | 6 |  | 397.58 | 8.95 | 4 | Mainline Relay
WS013987S | S9 | WS013987 [4.5] | WS013986 [6.9] | 6 |  | 343.6 | 5.75 | 7 | Mainline Relay
WS014005S | S9 | WS014005 [Dead End] | WS013623.01 [7.3] | 6 |  | 497 | 7.2 | 16 | Mainline Relay
WS013883S | U10 | WS013883 [4] | WS013882 [2.5] | 6 |  | 392 | 3.25 | 3 | Mainline Relay
WS013893S | U10 | WS013893 [Dead End] | WS013883 [4] | 8 |  | 378.98 | 5.95 | 13 | Mainline Relay
WS013934S | U8 | WS013934 [8.7] | WS013771 [7.9] | 6 |  | 224 | 8.25 | 1 | Mainline Relay
WS013970.02S | V9 | WS013970.02 [10] | WS013970.01 [5.8] | 6 |  | 279.52 | 7.75 | 11 | Mainline Relay
WS013976.01S | V9 | WS013976.01 [10.1] | WS013976 [4.8] | 6 |  | 257 | 7.5 | 16 | Mainline Relay